## Slide 1
Pump
OHSU
q ~ 1.2o
h = 450 ft
Part 1: Water Delivery
Pipe has 12 different diameters {Dk}, 4 Non-Circular Sections,
16 components {Ki}, (valves, readers, elbows, etc.),
and it made of two different pipe materials {e1, e2}
(75% of the pipe was restored from the original
1950 materials).
Refer to Excel data for these values.
What is the Power Requirement of the Pump?
Ref. Example 8.9 Munson to get Power…

## Slide 2: Quantities I Want.
Cost to run the pump per day.
Cost Increase Per Hospital Bed.
Cost if I made all the diameters the same value D.
  D = Geometric Mean: Are these cost savings worth it?
  D = Arithmetic mean: Are these cost savings worth it?
Cost to run if I replaced all the Pipes with Commercial Steel
  Are these cost savings worth it?